- Unique type designation / identification code of the product group for identification according to the price list of HSK Duschkabinenbau, as listed in annex 01

Steel radiators and convectors with the following designations:

Atelier Highline, Atelier LED, Line Aero, Softcube,  Yenga, Yenga Plus

- Purpose of refusal:

Radiators and convectors for use in heating systems in buildings.

- Contact address of the manufacturer

HSK Duschkabinenbau KG, Zum Hohlen Morgen 22, 59939 Olsberg, Deutschland

- System for assessment of constancy of performance:   System 3

- Harmonized product standard:   EN 442-1 2014

- Notified  bodies and performance-conformity

Notified test laboratory 0626

- Stated service:

| Main features | Regulated classes | harmonized technical specification |
| --- | --- | --- |
| fire behavior | A1 | EN 442-1:2014 |
| release of dangerous substances | None | EN 442-1:2014 |
| Pressure tightness | No leakage at 1.3 times the maximum operating pressure (kPa)Pressure tightness | EN 442-1:2014 |
| Surface temerature | Maximum 95° Celsius | EN 442-1:2014 |
| Compressive strength | No crack at 1.69 times maximum allowable operating pressure (kPa) | EN 442-1:2014 |
| Nominal heat output | See Annex 01 | EN 442-1:2014 |
| Heat output at different operating conditions (characteristic curve) | See Annex 01 | EN 442-1:2014 |
| Corrosion resistance | No surface corrosion after 100 h humidity test Resistance to minor impact damage | EN 442-1:2014 |
| Resistance to minor impact damage | Class 0 | EN 442-1:2014 |

Note 1), 2) und 3). These are example values. The factual values of all products, mentioned in this declaration, are named on the labels on the product packaging.

- The performance of the product in accordance with paragraphs I and 2 correspond to the declared bar after point 7.Is responsible for creating this declaration of performance alone the manufacturer in accordance with Section 3.

Signed in the name of the manufacturer of:

Joachim Schulte, managing partner

Olsberg, 01.01.2019

Place and date of issue				Signature